## BoQ Summary
SLOPE STABILISATION AND LAND RECLAMATION OF RUNWAY 06
KISUMU INTERNATIONAL AIRPORT
CONTRACT NO: KAA/KIA/OT/0026/2025-2026
BILL OF QUANTITIES
Summary
Item no. | Description | Appraised Amount
1 | GENERAL: Office administration and overheads/Preliminaries | 57155400
4 | SITE CLEARANCE | 6093050
5 | EARTHWORKS | 259946400
7 | EXCAVATION AND FILLING FOR STRUCTURES | 16448500
10 | GRAVEL WEARING COURSE | 5030300
20 | ROAD FURNITURE | 12723000
22 | DAYWORKS | 0
A | Sub Total 1 | 357396650
B | Add 5% of Sub-Total 1 of Bills as Provisional Sum for contigencies to be expended in the whole or part or deleted by the Engineer | 17869832.5
C | Sub Total 2 | 375266482.5
D | Add 16% of Sub-Total 2 for Value Added Tax (VAT) | 60042637.2
E | Sub Total 3 | 435309119.7
F | Add 0.03% of E for Public Procurement Capacity Building Levy (PPCBL) | 130592.7359
| Grand total carried to page on the tender | 435439712.4359

## BoQ 1; Preliminaries
SLOPE STABILISATION AND LAND RECLAMATION OF RUNWAY 06
KISUMU INTERNATIONAL AIRPORT
CONTRACT NO: KAA/KIA/OT/0026/2025-2026
BILL OF QUANTITIES
Bill No. 1 | PRELIMINARIES
Item No | Description | Units | Quantity | Rate (Ksh) | Amount (Ksh)
1.01 | Maintain a furnished Engineer's Representative's 40ft Containerized office to be provided by the Client or as instructed by the Engineer for use during the duration of the Contract. Maintenance shall include provision of electricity, water and starlink speed internet. Ownership shall revert back to the Employer. | L Sum | 1 | 2000000 | 2000000
1.02 | Provide an ablution block as per the drawing. | Item | 1 | 700000 | 700000
1.03 | Provide and install reinforced (weight of steel 80kg/m3-120kg/m3) concrete Septic Tank of 25,000 ltrs capacity | Item | 1 | 1000000 | 1000000
1.01 | Allow a prime cost Sum of Ksh 4,000,000 for Engineer's Miscellaneous account. | Item | 1 | 4000000 | 4000000
1.02 | Include percentage of P.C sum in item 1.01 for Contractor's overheads and profit. | Item | 1 | 600000 | 600000
1.03 | Hiring boat services for water Survey Works | Per Day | 30 | 40000 | 1200000
1.04 | Preparation of detailed Construction/Shop drawings as instructed by the Engineer | L Sum | 1 | 750000 | 750000
1.05 | Provide with driver, fuel, service and maintain, insure 1No. New 4WD Double Cab pickup vehicle recorded mileage below 20,000, diesel engine capacity 2800-3000 cc fitted with front bull bars, lockable water/dust proof vehicle colour matching fibre material carrier cover integrated with hinges and carrier lighting for exclusive use of the Engineer inclusive of the first 5,000 km per vehicle month to Engineer’s approval. Vehicle to revert back to the Contractor. | Veh. Month | 14 | 800000 | 11200000
1.06 | Extra over item 1.05 for mileage over 5,000 km per vehicle month inclusive of all fuels, lubricants, servicing and maintenance, insurances and driver | KM | 7200 | 55 | 396000
1.07 | Provide automatic level machine complete with levelling staff and levelling bubble for exclusive use by the Engineer’s representative for the entire duration of the contract as per special specifications | Month | 14 | 15000 | 210000
1.08 | Provide project signboard being 1200 mm × 600 mm Gauge 14 (1.9 mm thick) mild steel plate welded onto 50 mm × 50 mm × 3 mm square hollow sections frame, 2.5 m frame with 0.5 m fixed below ground and painted approved colours for the duration of the project including the defects liability period | No. | 1 | 35000 | 35000
1.09 | Provide Airtime worth KES 100,000 per month for Supervision Staff as instructed by the Engineer | Months | 14 | 100000 | 1400000
1.1 | Provide for removing the stands, disconnection and reconnection of Final Approach Lights as instructed by the Engineer | Lump Sum | 1 | 2100000 | 2100000
ADDITIONAL ITEMS REQUIRED BY THE SPECIFICATIONS
| Accomodation, furniture and equipment for engineers staff | Lump Sum | 1 | 21115400 | 21115400
| Engineers office | Lump Sum | 1 | 5247500 | 5247500
| Engineers Lab Equipment | Lump Sum | 1 | 3725300 | 3725300
| Survey Equipment | Lump Sum | 1 | 1476200 | 1476200
| Grand total carried to page on the tender |  |  |  | 57155400

## BoQ 4; Site Clearance
SLOPE STABILISATION AND LAND RECLAMATION OF RUNWAY 06
KISUMU INTERNATIONAL AIRPORT
CONTRACT NO: KAA/KIA/OT/0026/2025-2026
BILL OF QUANTITIES
Bill No. 4 | SITE CLEARANCE AND TOP SOIL STRIPPING
Item No | Description | Units | Quantity | Rate (Ksh) | Amount (Ksh)
4.01 | Clear site including removal of hedges, bushes, trees including uprooting of bushes and other vegetation and objectionable materials in accordance with the specifications | Ha | 5 | 550000 | 2750000
4.02 | Removal of topsoil to spoil. Depth not exceeding 200 mm | m³ | 8400 | 350 | 2940000
4.03 | Demolition to spoiling of concrete structures | m³ | 10 | 1305 | 13050
4.04 | Removal of barbed wire or chain link fence and storing to a designated location as instructed by the Engineer | m | 500 | 180 | 90000
4.05 | Relocation of existing fence as instructed by the Engineer | m | 100 | 3000 | 300000
| Grand total carried to page on the tender |  |  |  | 6093050

## BoQ 5; Earthworks
SLOPE STABILISATION AND LAND RECLAMATION OF RUNWAY 06
KISUMU INTERNATIONAL AIRPORT
CONTRACT NO: KAA/KIA/OT/0026/2025-2026
BILL OF QUANTITIES
Bill No. 5 | EARTHWORKS
Item No | Description | Units | Quantity | Rate (Ksh) | Amount (Ksh)
5.01 | Provide, lay and compact soft material in layers not exceeding 150 mm in fill as directed by the Engineer | m³ | 21000 | 1412 | 29652000
5.02 | Extra over item 5.01 for compaction of top 300 mm to 100% MDD (AASHTO T99) | m³ | 12600 | 2144 | 27014400
5.03 | Spoil in soft material | m³ | 21000 | 300 | 6300000
5.04 | Provide, lay and compact in 200 mm layers approved rockfill as directed by the Engineer | m³ | 21000 | 4180 | 87780000
5.05 | 50 mm top soiling to specification | m³ | 42000 | 1500 | 63000000
5.06 | Grassing to specifications | m² | 42000 | 1100 | 46200000
| Grand total carried to page on the tender |  |  |  | 259946400

## BoQ 7; Excavation
SLOPE STABILISATION AND LAND RECLAMATION OF RUNWAY 06
KISUMU INTERNATIONAL AIRPORT
CONTRACT NO: KAA/KIA/OT/0026/2025-2026
BILL OF QUANTITIES
Bill No. 7 | EXCAVATION AND FILLING FOR STRUCTURES
Item No | Description | Units | Quantity | Rate (Ksh) | Amount (Ksh)
7.01 | Excavate for structures in soft material | m³ | 2200 | 296 | 651200
7.02 | Extra over item 7.01 for excavation in hard material | m³ | 1100 | 591 | 650100
7.03 | Provide and place 2 m × 1 m triple twisted wire 2.6 mm thick galvanised wire gabion mesh boxes | m² | 8600 | 574 | 4936400
7.04 | Provide and place rock fill to gabion mesh boxes | m³ | 1600 | 5883 | 9412800
7.05 | Provide and place filter fabric (300 g/m²) under or behind gabions | m² | 2100 | 380 | 798000
| Grand total carried to page on the tender |  |  |  | 16448500

## BoQ 10&20; Gravel & RDfurniture
SLOPE STABILISATION AND LAND RECLAMATION OF RUNWAY 06
KISUMU INTERNATIONAL AIRPORT
CONTRACT NO: KAA/KIA/OT/0026/2025-2026
BILL OF QUANTITIES
Bill No. 10 | GRAVEL WEARING COURSE (PATROL ROAD)
Item No | Description | Units | Quantity | Rate (Ksh) | Amount (Ksh)
10.01 | Gravel wearing course to specifications | m³ | 1700 | 2959 | 5030300
| Grand total carried to page on the tender |  |  |  | 5030300
Bill No. 20 | ROAD FURNITURE
Item No | Description | Units | Quantity | Rate (Ksh) | Amount (Ksh)
20.01 | Excavate holes for fencing posts footing not exceeding 1.50 m deep, average 1.0 m deep in hard and soft material; ram base to receive Class 20 concrete bases; include carting away | m³ | 200 | 450 | 90000
20.02 | Ditto but for chain-link anchoring posts | m³ | 100 | 450 | 45000
20.03 | Mass concrete; Class 20 in footings | m³ | 200 | 12000 | 2400000
20.04 | Ditto but for chain-link anchoring posts | m³ | 100 | 12000 | 1200000
20.05 | Supply and install precast reinforced intermediate posts size 150×150 mm overall height 3500 mm inclusive of cranked top 475 mm long as per detailed drawing including labour for 6 mm diameter holes and bolts and 8 mm galvanized mild steel bars with 12.5 SWG stirrups at 350 mm c/c as per detailed drawing to Engineer’s approval and satisfaction | No. | 190 | 5500 | 1045000
20.06 | Ditto but precast reinforced straining posts size 150×150 mm overall height 3500 mm inclusive of cranked top 475 mm long including provision to receive struts to detail drawing | No. | 40 | 6000 | 240000
20.07 | 150 × 80 mm precast reinforced concrete struts to detail anchor on concrete base and straining posts at approved level and 45° to the horizontal | No. | 70 | 2500 | 175000
20.08 | Supply and fix 2.4 m high galvanized chain-link (gauge 9, 3.5 mm thick wire), 50×50 mm mesh onto precast concrete posts; fastening with 5 No. lines of galvanized wire threaded through mesh and hook bolts | Lm | 550 | 3500 | 1925000
20.09 | High tensile galvanized barbed wire 12½ G (2.5 mm diameter) threaded through posts secured by galvanized binding wire | Lm | 1700 | 55 | 93500
20.1 | High tensile galvanized straining wire 9 Gauge threaded through concrete posts including hook bolts | Lm | 2200 | 80 | 176000
20.11 | Excavate 150 mm × 300 mm for ground beam | m³ | 60 | 350 | 21000
20.12 | Mass concrete; Class 20 in ground beam | m³ | 60 | 13500 | 810000
20.13 | Supply and install 50 mm × 6 mm THK EA section steel columns with overall height of 2.4 m above ground including fittings | Tonnes | 10 | 420000 | 4200000
20.14 | Supply and install 450mm diameter galvanized steel spiral razor 2.5mm diameter, high tensile blade/strip 0.55mm, BTC-18 hot dipped galvanized surface treatment fastened along the fence, three lines at the base. | Lm | 550 | 550 | 302500
| Grand total carried to page on the tender |  |  |  | 12723000

## BoQ 23; Elevated Approach Light
SLOPE STABILISATION AND LAND RECLAMATION OF RUNWAY 06
KISUMU INTERNATIONAL AIRPORT
CONTRACT NO: KAA/KIA/OT/0026/2025-2026
BILL OF QUANTITIES
Bill No. | ELECTRICAL WORKS FOR ELEVATED APPROACH LIGHTS RE-INSTALLATION.
Item No | Description | Units | Quantity | Rate (Ksh) | Amount (Ksh)
23.01 | Taking the co-ordinates of the existing lighting fittings before slope stabilization and re-using the co-ordinates after slope stabilization to carry out re-installation of the fittings | LS | 10 |  | 0
23.02 | Disconnection and removal of existing elevated approach light fittings complete with its secondary cable and transformers | No. | 16 |  | 0
23.03 | Supply and installation of heavy duty 75mm diameter PVC conduit with all jointing accessories to a depth of at least 1 metre from new ground level attained | m | 200 |  | 0
23.04 | Provide for concrete works to vertically extend the existing plinths for the lighting fittings inclusive of labour | LS | 1 |  | 0
23.05 | Re-installation of the lighting fittings complete with the secondary cables. | No. | 10 |  | 0
23.06 | Provide for fasteners to erect the lighting fittings | No. | 10 |  | 0
23.07 | Supply and install secondary connector kits (male plug and female recceptacle), FAA approved | Pairs | 16 |  | 0
23.08 | Supply and install primary connector kits (male plug and female receptacle), FAA approved. | Pairs | 10 |  | 0
23.10 | 2x4 mm^2 secondary cable, XLPE insulated as per AC 150/5345-7D (L-824) | mtrs | 200 |  | 0
23.11 | Series Primary cable, 5kV 6mm^2 XLPE as per AC 150/5345-7D (6Ll-824) for reinstating damaged sections - (surplus to be handed over to station for maintenace) | mtrs | 500 |  | 0
23.12 | 4mm² bare copper cable. | mtrs | 1 |  | 0
23.13 | Scotch 3M PVC electrical insulation adhesive tape | No. | 2 |  | 0
23.14 | Scotch 3M 23 self-bonding rubber tape | No. | 1 |  | 0
0

## BoQ 22; Dayworks
SLOPE STABILISATION AND LAND RECLAMATION OF RUNWAY 06
KISUMU INTERNATIONAL AIRPORT
CONTRACT NO: KAA/KIA/OT/0026/2025-2026
BILL OF QUANTITIES
Bill No. 22 | DAYWORKS
Item No | Description | Units | Quantity | Rate (Ksh) | Amount (Ksh)
1 | Plant
2 | Cat D6 bulldozer or equivalent with Dozer / Ripper attachment | hr | 10 | 7440
3 | Cat 140H motor grader or equivalent complete with scarifier | hr | 10 | 9000
4 | Vibrating roller (15 tonnes) | hr | 10 | 4480
5 | Hand propelled vibrating roller | hr | 10 | 1000
6 | Cat 950C wheel loader or equivalent |  | 10 | 9000
7 | 15 tonne tipper lorry | hr | 10 | 4200
8 | 2 cm/hr dewatering pump | hr | 10 | 1680
9 | Concrete mixer 0.3 – 0.7 m³/min | hr | 10 | 2100
10 | Sheep foot roller – 15 tons | hr | 10 | 6720
11 | Excavator with loader attachment – 1.7 m³ | hr | 10 | 7800
12 | Pick-up truck (1 – 1.5 tonne capacity) |  | 10 | 1680
13 | Compressor with drill (250 c.f.m) complete with tools, hoses and steel bits | hr | 10 | 2400
14 | Concrete vibrator (poker type) | hr | 10 | 1120
15 | Self-propelled water tanker (6,000–20,000 litres) with pick-up pump | hr | 10 | 4060
92 | Labour
93 | Unskilled Labour | hr | 10 | 97
94 | Skilled Labour | hr | 10 | 175
95 | Artisan | hr | 10 | 165
96 | Plant Operator | hr | 10 | 219
97 | Driver | hr | 10 | 120
98 | Foreman | hr | 10 | 223
99 | Site Surveyor | hr | 10 | 350
100 | Chainman | hr | 10 | 100
101 | Watchman (all round surveillance) | hr | 10 | 100
102 | Blaster (Certified) | hr | 10 | 500
103 | Office attendants | hr | 10 | 100
104 | Materials
105 | Ordinary Portland Cement | t | 1 | 15000
106 | Hydrated Lime | t | 1 | 29000
107 | Mild steel
108 | up to and including 16mm dia | t | 1 | 200000
109 | over 16mm dia | t | 1 | 200000
110 | High tensile steel
111 | up to and including 16mm dia | t | 1 | 200000
112 | over 16mm dia. | t | 1 | 200000
113 | Aggregate for concrete
114 | a) fine | t | 1 | 1700
115 | b) coarse | t | 1 | 1900
116 | Concrete:
117 | a) Class 15/20 | m3 | 1 | 9300
118 | b) Class 20/20 | m3 | 1 | 12000
119 | c) Class 25/20 | m3 | 1 | 15500
120 | d) Class 30/20 | m3 | 1 | 20600
121 | Waterproofing
122 | a) Damp Proof Membrane | m2 | 1 | 170
123 | b) Damp Proof Course | m2 | 1 | 880
124 | c) Liquid-applied waterproofing | m3 | 1 | 1280
125 | d) Cementitious waterproof | m3 | 1 | 760
126 | e) Integral waterproofing admixture to concrete | m3 | 1 | 750
127 | f) Sealants to joints, penetrations and construction joints | m3 | 1 | 300
128 | g) Protection layers to waterproofing membranes | m2 | 1 | 170
129 | Formwork
130 | a) F1 | m2 | 1 | 690
131 | b) F2 | m2 | 1 | 720
132 | c) F3 | m2 | 1 | 700
133 | 150mm Blockwork | m2 | 1 | 2400
134 | 200mm Blockwork | m2 | 1 | 2500
143 | Gabion Size 2.0 x 1.0 x 1.0m | m3 | 1 | 3463
144 | Rock fill to gabions | m3 | 1 | 4227
145 | Imported Fill (marrum) | m3 | 1 | 1612
146 | Imported fill (Hardcore) | m3 | 1 | 1599

## Engineers office
SLOPE STABILISATION AND LAND RECLAMATION OF RUNWAY 06
KISUMU INTERNATIONAL AIRPORT
CONTRACT NO: KAA/KIA/OT/0026/2025-2026
BILL OF QUANTITIES
Bill No. | FURNITURE AND EQUIPMENT FOR THE ENGINEER OFFICE
Item No | Description | Units | Quantity | Rate (Ksh) | Amount (Ksh)
1 | Executive office desk with side returns with open shelves and drawer, leatherette writing pad, equipped with grommets for wire management (minimum surface area 2.8 m) | No. | 1 | 85000 | 85000
2 | High back executive swivel ergonomic leather chair adjustable height | No. | 2 | 28000 | 56000
3 | 1.4 m long office desk, with lockable drawers | No. | 3 | 30000 | 90000
4 | Visitor’s seats with armrest | No. | 4 | 12000 | 48000
5 | Typist table complete with a chair | No. | 1 | 25000 | 25000
6 | 4-drawer lockable steel fire proof filing cabinets with combination locks | No. | 2 | 85000 | 170000
7 | 3 m × 3 levels wooden lockable cabinets with high swing glass doors and lower level in wooden doors | No. | 2 | 95000 | 190000
8 | 4 Way detachable workstation office desk 2.4 m × 2.4 m with lockable drawers and screens | No. | 4 | 150000 | 600000
9 | Conference table for 10 sitting positions minimum size 1.8 m × 4.8 m with power and data sockets | No. | 1 | 120000 | 120000
10 | High back executive swivel orthopedic chair adjustable height | No. | 6 | 28000 | 168000
11 | Lockable cupboards | No. | 1 | 45000 | 45000
12 | Soft board for wall notices, drawings & other civil works 1.2 m × 0.9 m | No. | 2 | 6000 | 12000
13 | Refrigerator, 138 liter capacity | No. | 1 | 34000 | 34000
14 | Fire extinguishers, CO₂ type, 9 kg capacity | No. | 1 | 12000 | 12000
15 | First aid kit for general purposes | No. | 1 | 5000 | 5000
16 | Provide and maintain with Toner HP CF066A LaserJet Enterprise M725F Multi-Function Printer or similar approved laser printer | No. | 1 | 520000 | 520000
17 | 3 No. reams of A4 Printing Paper and 1 No. ream of A3 Printing Paper per month for the duration of the Contract | No. | 1 | 47600 | 47600
18 | 1 Box of fine point ball pens per month for the duration of the Contract | No. | 1 | 21000 | 21000
19 | Electronic Scientific Calculator 12 figures (Casio fx-95 or equivalent) | No. | 2 | 3000 | 6000
20 | 2 No. ordinary size stapler complete with staple pins for the duration of the Contract, ordinary size paper punch | No. | 1 | 4500 | 4500
21 | Laptops | No. | 2 | 950000 | 1900000
22 | Water dispensers and refill for the duration of the Contract | No. | 2 | 85000 | 170000
23 | Provide and maintain one (1) approved branded desktop computer with the following: Intel Core i7 processor, 20" TFT screen display, 1000 GB SATA HDD storage, 16 GB DDR RAM, DVD RW multi-layer drive, NIC card, 540 m graphics card complete with accessories and pre-loaded licensed Windows 7 Ultimate 64-bit OS, latest MS Office and MS Project. PC should have full multimedia capabilities | No. | 2 | 350000 | 700000
24 | Unlimited 40 Mbps or more wireless high speed Internet for the duration of the Contract | No. | 1 | 218400 | 218400
5247500

## Engineers lab equipment
SLOPE STABILISATION AND LAND RECLAMATION OF RUNWAY 06
KISUMU INTERNATIONAL AIRPORT
CONTRACT NO: KAA/KIA/OT/0026/2025-2026
BILL OF QUANTITIES
Bill No. | FURNITURE AND EQUIPMENT FOR THE ENGINEER LABORATORY
Item No | Description | Units | Quantity | Rate (Ksh) | Amount (Ksh)
The following equipment shall be purpose-made for use in soils testing laboratories and shall comply with the relevant British (BS) or American (AASHTO) standard:
1. FURNITURE
1 | Desk 2.2 × 0.9 m with 1 chest of drawers | No. | 1 | 35000 | 35000
2 | Office chairs, standard | No. | 3 | 8000 | 24000
3 | 4-drawer steel lockable filing cabinet | No. | 1 | 28000 | 28000
4 | Electronic scientific calculator, 12 figures | No. | 2 | 6500 | 13000
5 | Fire extinguisher, 10 litre capacity, CO₂ type | No. | 2 | 12000 | 24000
6 | Steel filing cabinet, 4 drawers, lockable | No. | 1 | 28000 | 28000
7 | Book shelf, 3 shelves, 1.2 m long (to hold box files) | No. | 2 | 20000 | 40000
8 | First aid kit | No. | 1 | 25000 | 25000
2. EQUIPMENT
i) General Equipment
9 | Compaction mould complete with base plate and extension collar, 101.6 mm dia. x 116.43 mm high | No. | 2 | 18000 | 36000
10 | 2.5 kg compaction hammer, drop regulated to 304.8 mm | No. | 2 | 6000 | 12000
11 | 4.535 kg compaction rammer, drop regulated to 457.2 mm | No. | 2 | 8000 | 16000
12 | Straight edge 300 mm with handles | No. | 3 | 2000 | 6000
13 | Galvanized sample tray 1 × 0.5 × 75 mm deep | No. | 6 | 1500 | 9000
14 | 75 mm brush | No. | 10 | 250 | 2500
15 | Semi-automatic electronic balance 25 kg capacity accurate to 10 g, including weights | No. | 1 | 85000 | 85000
16 | 20 mm BS sieve (300 mm dia) | No. | 2 | 6000 | 12000
17 | Stop clock | No. | 1 | 2000 | 2000
18 | Thermostatically controlled electric oven 104 - 110°C, capacity 0.225 m | No. | 1 | 160000 | 160000
19 | Moisture tin 90 mm × 20 mm deep, cadmium plated or aluminium alloy | No. | 100 | 150 | 15000
20 | Semi-automatic or automatic cone penetrometer with gauge and automatically controlled test cup | No. | 1 | 120000 | 120000
21 | Test gauge | No. | 1 | 8000 | 8000
22 | Penetration test cup | No. | 2 | 2000 | 4000
23 | Penetration test cone | No. | 2 | 6000 | 12000
24 | Glass plate | No. | 2 | 600 | 1200
ii) Density (Sand Replacement Method BS 1377)
25 | Metal container (450 mm dia) | No. | 4 | 4000 | 16000
26 | Stainless steel tray 305 mm dia x 50mm deep | No. | 4 | 2000 | 8000
27 | Metal tray with 150 mm hole in centre, 300 x 300mm square or equivalent area, 400 mm deep | No. | 3 | 2500 | 7500
28 | Metal tray with 200 mm hole in centre, 500 x 500mm square, 50 mm deep | No. | 3 | 3000 | 9000
29 | Steel pegs for tray fixing tray in position | No. | 20 | 250 | 5000
30 | Sand pouring cylinder 150 mm dia | No. | 2 | 38000 | 76000
31 | Sand pouring cylinder 215 mm dia | No. | 2 | 48000 | 96000
32 | Cold steel chisel 20 × 300 mm | No. | 6 | 1500 | 9000
33 | Cold steel chisel 10 × 250 mm | No. | 6 | 1200 | 7200
34 | 1.5 kg (2 off), 3.5 kg (2 off) mason hammers and 1 kg (2 off) rubber mallet | Set | 3 | 3500 | 10500
35 | Scoop for removing excavated material from hole, 250 mm long handle | No. | 10 | 800 | 8000
36 | 100 mm brush, soft | No. | 4 | 300 | 1200
37 | 50 mm brush, soft | No. | 6 | 250 | 1500
38 | Calibration can 150 mm × 150 mm deep | No. | 1 | 5000 | 5000
39 | Ditto item 54/106 but 200 mm dia x 250 mm deep | No. | 1 | 6500 | 6500
40 | CBR mould, 152.4 mm dia. x 178 mm high, complete with perforated base plate and extension collar 50.8 mm high that can be fitted to either end of the mould | No. | 30 | 18000 | 540000
41 | Perforated swell plate 150 mm dia. With an adjustable centre post of rustproof metal provided with a lock nut | No. | 30 | 4200 | 126000
42 | Swell tripod | No. | 5 | 4000 | 20000
43 | Swell dial gauge | No. | 3 | 11000 | 33000
44 | 2.27 kg slotted surcharge weight | No. | 15 | 3200 | 48000
45 | 2.27 kg annular surcharge weight | No. | 30 | 3200 | 96000
46 | 2.8 kg solid base plate for CBR mould | No. | 4 | 5000 | 20000
47 | Central extruder, omplete with 29 KN hydraulic jack and accessories. | No. | 1 | 65000 | 65000
48 | Spacer disc with T-handle | No. | 1 | 3500 | 3500
49 | Soaking tank for CBR mould sufficient to hold at least 50moulds | No. | 1 | 120000 | 120000
iii) Specific Gravity for Aggregates (BS 812)
50 | Pycnometer of 1L capacity | No. | 3 | 3000 | 9000
51 | Electronic automatic 5KG balance to 0.1g to be of size and typw to permit the basket containing the sample to be suspended in water (to be supplied with weights) | No. | 1 | 65000 | 65000
vi) Sieve Analysis
52 | Sieve 300 mm dia: 75, 63, 50, 37.5, 28, 25,19, 20, 14,12.5, 10,9.5, 6.3, 5, 4.75 and 4 mm, plus lid and receiver | Set | 1 | 135000 | 135000
53 | Sieve 200 mm dia: 2.36, 2, 1.18, 1, 0.6, 0.5, 0.425, 0.300, 0.150 and 0.075 mm plus lid and receiver | Set | 1 | 70000 | 70000
54 | Riffle box with 50 mm slots | No. | 2 | 25000 | 50000
vii) Concrete: Slump & Cube Manufacture (BS 1881)
55 | Slump cone, tamping rod and base | Set | 1 | 26000 | 26000
56 | Steel rule. 300mm and 600mm long | No. | 2 | 2000 | 4000
57 | Concrete cube moulds 150 mm cubes | No. | 15 | 5500 | 82500
58 | Large curing tank (capacity 50 No. Cubes) | No. | 1 | 120000 | 120000
59 | Cube tamping rod and spanner for loosening and tightening the cubes if cast iron or steel | No. | 1 | 2000 | 2000
60 | Beaker 250 ml | No. | 2 | 500 | 1000
61 | Tamping rod 8 mm dia. x 300 mm long and metal measure 115 mm dia. x 180 mm deep for above (BS 812) | No. | 1 | 500 | 500
62 | Flakiness gauge (BS 812) passing 63.0 mm to retain 6.3 mm | No. | 1 | 6000 | 6000
Tray Spray & Spread Rate Tests
63 | Steel tray 306 × 306 × 38 mm | No. | 15 | 1500 | 22500
64 | Gunny sacks | No. | 400 | 150 | 60000
65 | Plastic bag 900 × 450 mm | No. | 1000 | 40 | 40000
66 | Plastic bag 450 × 300 mm | No. | 1000 | 20 | 20000
67 | Filter paper 150 mm dia. Whatman No. 5(Boxes of 100) | No. | 50 | 20 | 1000
Miscellaneous
68 | Gas cylinders 13 kg | No. | 1 | 4500 | 4500
69 | Padlocks | No. | 4 | 1000 | 4000
70 | Plastic jerry cans 20 L Capacity | No. | 6 | 1500 | 9000
71 | Permanent marker pens | No. | 48 | 150 | 7200
72 | Paper punch | No. | 2 | 2000 | 4000
73 | Stapler with pins | Pkts | 20 | 800 | 16000
74 | Tray lifting calipers | No. | 4 | 4000 | 16000
75 | Laboratory dust coats (brown) | No. | 2 | 2000 | 4000
76 | Laboratory dust coats (white) | No. | 2 | 2000 | 4000
77 | Asbestos gloves | No. | 16 | 1500 | 24000
78 | Laboratory gumboots (assorted sizes) | No. | 4 | 2500 | 10000
79 | Wheel barrow | No. | 2 | 12000 | 24000
80 | Dust pan with brush | No. | 4 | 800 | 3200
81 | Hand shovel | No. | 6 | 1800 | 10800
82 | Pick axe with handle | No. | 6 | 2500 | 15000
83 | Metal scoop large (120x190x70mm) cast aluminium handle | No. | 4 | 1200 | 4800
84 | Metal scoop large (70x110x40mm) cast aluminium handle | No. | 6 | 1200 | 7200
85 | Garden trowel | No. | 4 | 500 | 2000
86 | Sample tray 306 × 306 × 38 mm | No. | 20 | 1500 | 30000
87 | Spatula 200 mm blade | No. | 6 | 350 | 2100
88 | Spatula 100 mm blade | No. | 6 | 250 | 1500
89 | BS sieve brush double ended brass and nylon bristle | No. | 4 | 300 | 1200
90 | Measuring cylinders plastic with sprout 100ml, 250ml, 500ml capacity | Set | 1 | 6000 | 6000
91 | Glass jar capacity 5 L with lid | No. | 10 | 1000 | 10000
92 | 200mmx200mmx20mm cadmium plated aluminium tin | No. | 50 | 300 | 15000
93 | Electronic Automatic balance, capacity 1000 g accurate to 0.01g | No. | 1 | 18000 | 18000
94 | Electronic Automatic balance, capacity 2100 g accurate to 0.1g | No. | 1 | 25000 | 25000
95 | Electronic Automatic balance, capacity 50kg accurate to 10g | No. | 1 | 90000 | 90000
96 | Dial-O-gram balance 310g capacity accuracy to 0.1g | No. | 1 | 45000 | 45000
97 | Field and laboratory scale with scoop 10000g capacity accurate to 0.1g | No. | 1 | 7000 | 7000
98 | Set of stiff broom and soft broom with handles | No. | 5 | 2000 | 10000
99 | Digital vernier calipers, 150 mm, accurate to 0.1mm | No. | 1 | 4000 | 4000
100 | Digital vernier calipers 200 mm, accurate to 0.002mm | No. | 1 | 5000 | 5000
101 | Pestle and mortar | No. | 2 | 2000 | 4000
102 | Linear shrinkage mould (BS 1377) | No. | 6 | 9000 | 54000
103 | Average least dimension gauge | No. | 2 | 6000 | 12000
104 | Plastic or metal bucket including lid,10 L capacity | No. | 10 | 500 | 5000
105 | Polythene wash bottle | No. | 2 | 250 | 500
106 | A4 size clipboard | No. | 4 | 500 | 2000
107 | Mercury thermometer, range-1deg.cent. To 15deg.cent glass (BS 593) | No. | 2 | 1000 | 2000
108 | Minimum & maximum thermometer (BS 692) | No. | 2 | 2500 | 5000
109 | Rain gauge | No. | 1 | 7500 | 7500
110 | Portable dial thermometer | No. | 1 | 3000 | 3000
111 | Dial thermometer long stem | No. | 1 | 3500 | 3500
Reference Standards
112 | BS 1377 – Methods of testing soils for civil engineering purposes | No. | 1 | 30000 | 30000
113 | BS 1881 – Methods of testing concrete | No. | 1 | 30000 | 30000
114 | BS 1924 – Stabilized materials for civil engineering purposes | No. | 1 | 30000 | 30000
115 | BS EN 1008 – Mixing water for concrete | No. | 1 | 150000 | 150000
116 | BS EN 196 – Methods of testing cement | No. | 1 | 25000 | 25000
Marshall Test (ASTM D1559)
117 | Thermometer (50°C to 250°C) 50 mm dia with 180mm stainless steel stem | No. | 2 | 2000 | 4000
118 | Flat bottomed scoop | No. | 3 | 1000 | 3000
119 | Steel garden trowel | No. | 2 | 500 | 1000
120 | Large steel spoon | No. | 2 | 600 | 1200
121 | Heat resistant gloves | Pair | 10 | 2000 | 20000
122 | Volumetric flask 250 mℓ, 500 mℓ, 100 mℓ and 2000 mℓ capacity each | No. | 1 | 24000 | 24000
Consumables
123 | Paraffin wax | kg | 50 | 900 | 45000
124 | Gas | kg | 180 | 300 | 54000
3725300

## Survey Equipment
SLOPE STABILISATION AND LAND RECLAMATION OF RUNWAY 06
KISUMU INTERNATIONAL AIRPORT
CONTRACT NO: KAA/KIA/OT/0026/2025-2026
BILL OF QUANTITIES
Bill No. | SURVEY EQUIPMENT
Item No | Description | Units | Quantity | Rate (Ksh) | Amount (Ksh)
1 | Engineer’s automatic level Wild NAK-2 or similar including tripod | No. | 1 | 245700 | 245700
2 | Set of tripods (Wild or similar) | No. | 1 | 12000 | 12000
3 | Survey umbrella | No. | 1 | 4000 | 4000
4 | 3 m ranging rod (metallic) | No. | 2 | 3000 | 6000
5 | Levelling staff 5 m with levelling bubble (Wild NLE3 or similar) | No. | 2 | 9000 | 18000
6 | 30 m steel white face tape | No. | 2 | 3000 | 6000
7 | 100 m steel band tape | No. | 2 | 8000 | 16000
8 | 3 m tape measure | No. | 2 | 500 | 1000
9 | Steel tape repair outfit | No. | 1 | 4500 | 4500
10 | 2 kg hammer | No. | 2 | 3500 | 7000
11 | Pangas 16" straight | No. | 5 | 1200 | 6000
12 | Theodolite equivalent to type WILD T2E | No. | 1 | 220000 | 220000
13 | Aluminium straight edges, length 3 m including measuring devices | No. | 2 | 12000 | 24000
14 | Sun shades | No. | 2 | 3000 | 6000
15 | Total station complete with field data collector (TOPCON Model ITS-722 or similar) including accessories and supporting software | No. | 1 | 900000 | 900000
1476200

## Equipment for Engineers Staff H
SLOPE STABILISATION AND LAND RECLAMATION OF RUNWAY 06
KISUMU INTERNATIONAL AIRPORT
CONTRACT NO: KAA/KIA/OT/0026/2025-2026
BILL OF QUANTITIES
Bill No. | Equipment For Engineer's Staff Houses
Item No | Description | Units | Quantity | Rate (Ksh) | Amount (Ksh)
HOUSING AND ACCOMODATION
| Senior Staff | No. | 5 | 560000 | 2800000
| Junior staff | No. | 33 | 280000 | 9240000
FURNITURE
1 | Kitchen table (Formica top) | No. | 5 | 28000 | 140000
2 | Kichen chair | No. | 5 | 10000 | 50000
3 | Dining table | No. | 5 | 60000 | 300000
4 | Dining chairs | No. | 22 | 10000 | 220000
5 | Dining chairs with arms | No. | 7 | 15000 | 105000
6 | Writing desk(3 drawer) | No. | 3 | 35000 | 105000
7 | Book shelf | No. | 3 | 30000 | 90000
8 | Settee - 7 Seater | No. | 2 | 300000 | 600000
9 | Settee - 5 Seater | No. | 1 | 250000 | 250000
10 | Easy chairs | No. | 13 | 35000 | 455000
11 | Coffee tables | No. | 4 | 35000 | 140000
12 | Side board | No. | 2 | 40000 | 80000
13 | Beds double 6x6 with inner spring mattresses | No. | 3 | 120000 | 360000
14 | Beds single 4x4 with inner spring mattresses | No. | 6 | 70000 | 420000
15 | Pillows | No. | 24 | 2500 | 60000
16 | Side tables | No. | 11 | 15000 | 165000
17 | Dressing tables with mirrors | No. | 5 | 40000 | 200000
18 | Dressing table stools | No. | 5 | 10000 | 50000
19 | Chest of drawers | No. | 9 | 30000 | 270000
20 | Bedside chair | No. | 9 | 20000 | 180000
21 | Bathroom cabinet with mirror | No. | 5 | 20000 | 100000
22 | Bathroom stool | No. | 5 | 4000 | 20000
23 | Floor rags | No. | 18 | 2000 | 36000
25 | Equipment
26 | Air conditioner | No. | 16 | 120000 | 1920000
27 | Refrigerator (at least 19 cu.ft.) including a freezer compartment of about 3cu.ft.capacity | No. | 2 | 200000 | 400000
28 | Refrigerator (at least 7 cu.ft.) including a freezer compartment | No. | 2 | 100000 | 200000
29 | Electric & gas cooker with 4 burners, a grill and an oven | No. | 3 | 100000 | 300000
30 | Gas or Electric cooker with 2 elements | No. | 2 | 25000 | 50000
31 | Fume hood | No. | 3 | 40000 | 120000
32 | Water filter (hot and dispenser) | No. | 5 | 50000 | 250000
33 | Dust bin metal with lid (outdoor type) | No. | 5 | 10000 | 50000
34 | Door mats | No. | 10 | 3000 | 30000
35 | Vacuum cleaner | No. | 3 | 30000 | 90000
36 | Ceiling fans | No. | 6 | 15000 | 90000
37 | Set of 8 piece crockery, cutlery, glass wear | No. | 5 | 15000 | 75000
38 | Set of kitchen utensils | No. | 5 | 10000 | 50000
39 | Set of pots, pans etc. | No. | 5 | 25000 | 125000
40 | Fire extinguisher | No. | 7 | 12000 | 84000
41 | Standard lamps | No. | 10 | 15000 | 150000
42 | Table lamps | No. | 3 | 6000 | 18000
43 | Toilet tissue holders | No. | 5 | 2000 | 10000
44 | Waste baskets | No. | 13 | 300 | 3900
45 | Mixer electric (portable) | No. | 5 | 12000 | 60000
46 | Bedside lights | No. | 8 | 5000 | 40000
47 | Wall lights | No. | 29 | 500 | 14500
48 | Pelmets and runners | LS | 1 | 12000 | 12000
49 | Curtains | LS | 1 | 50000 | 50000
50 | Bed sheets | No. | 52 | 5000 | 260000
51 | Pillow cases | No. | 26 | 2000 | 52000
52 | Blankets | No. | 28 | 5000 | 140000
53 | Towel rails | No. | 7 | 5000 | 35000
21115400